*HILLSBOROUGH COUNTY SHERIFF'S OFFICE*

Page 1

 *Battery Charger and UPS Systems*

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| 78th Street Site | 3212 S. 78th StreetTampa, FL 33619 | Toshiba 4400 Series | 50KVA | 4400F3500XA |  |  |  |  |
| Bullfrog Creek | 13010 Bullfrog Creek Rd Gibsonton, FL 33569 | Toshiba 1400 XL Plus Series | 18KVA |  |  |  |  |  |
| Taylor Road | West Side of Taylor Rd Landfill6209 County Rd 579Seffner, FL 33584 | Toshiba 1400 XL Plus Series | 22KVA |  |  |  |  |  |
| Pinecrest | SE Fire Station #26766 Lithia Pinecrest RoadLithia, FL 33547 | Toshiba 400 Series | 18KVA |  |  |  |  |  |
| Plant City | Highway Maintenance Unit #44702 Sydney RoadPlant City, FL 33566 | Toshiba 1400 XL Plus Series | 20KVA |  |  |  |  |  |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| Wimauma | Wimauma Fire Station #221120 7th StreetWimauma, FL 33598 | Toshiba 4000 Series | 20KVA |  |  |  |  |  |
| Himes Avenue | 2001 N. Himes AvenueTampa, FL 33607 | Toshiba 1600 XP Series | 22KVA |  |  |  |  |  |
| EDOC | Emergency Dispatch Operations Center2709 E. Hanna Ave.Tampa FL 33610 | Toshiba 4400 Series | 50KVA |  |  |  |  |  |
| EDOC (Backup Radio) | Emergency Dispatch Operations Center2709 E. Hanna Ave.Tampa FL 33610 |  |  |  | PCP TwinPAck2 + 12 VDC | TWI-12N |  |  |
| D4 – HQ | 508 33rd St. SERuskin FL 33570 | Toshiba 1400 Series | 2.4KVA |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| Hurrah | East of SR 39 Thatcher Park 111 Alafia Church RdLithia, FL 33547 | Toshiba 1400 Series | 2.4K |  |  |  |  |  |
| Tampa General Hospital (TGH)  | 10th Floor New Bldg.Air Conditioning Unit # 1 Davis Island, FL 33601 | Toshiba 1400 XL Plus Series | 18KVA |  |  |  |  |  |
| Gunn Highway | Gunn Highway Fire Station #137502 Gunn HighwayTampa, FL 33625 | Toshiba 4000 Series | 20KVA |  |  |  |  |  |
| Fire Station 10 | Fire Station # 108430 N. Grady AveTampa, GL 33614 | Toshiba 1400 XL Plus Series | 18KVA |  |  |  |  |  |
| Fire Station 20  | City of TampaFire Station # 2016200 Bruce B. Downs BlvdTampa FL 33647 | Toshiba 4400 Series | 25KVA |  |  |  |  |  |
| Cork Knight | CK Fire Station # 265302 W. Thonotosassa Rd. Plant City, FL 33565 | Toshiba 4000 Series | 20KVA |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| SOC Sheriff’s Operation Center | 2008 E. 8th AvenueTampa, FL 33601 | Toshiba 4400 Series | 50KVA |  |  |  |  |  |
| SOC Sheriff’s Operation Center (Backup Radio)  | 2008 E. 8th AvenueTampa, FL 33601 |  |  |  |  |  |  |  |
| ORJ 18KVA – Orient Road Jail | 1201 Orient RoadTampa, FL 33619 | Toshiba 1600 Series | 18KVA |  |  |  |  |  |
| ORJ 1.5 KVA – Orient Road Jail | 1201 Orient RoadTampa, FL 33619 | Toshiba 1000 Series | 1.5KVA |  |  |  |  |  |
| ORJ 1.0 KVA – Orient Road Jail  | 1201 Orient RoadTampa, FL 33619 | Toshiba 1000 Series | 1.0KVA |  |  |  |  |  |
| Video Downlink | 2502 N. Falkenburg RoadTampa, FL 33619 | Toshiba 1000 Series | 1.5KVA |  |  |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| Radio Shop | 2502 N. Falkenburg RoadTampa, FL 33619 | Toshiba 1000 Series | 1.5KVA |  |  |  |  |  |
| Spare | HCSO Radio Shop2214 N. Falkenburg RoadTampa, FK 33619 | Toshiba 1400 Series | 2.4 KVA |  |  |  |  |  |
| Temple Terrace – Fire Station 1 | 124 Bullard ParkwayTemple Terrace, FL 33617 | Toshiba 1600 XP | 14KVA |  |  |  |  |  |
| Herring St | 402 Herring St.Plant City, FL 33563 | Toshiba 1600 Series | 14KVA |  | ELTEK Flatpack S |  |  |  |
| Morris Bridge | 17101 Dona Michelle Dr.Tampa, FL 33647 | Toshiba 1600 Series | 14KVA |  | ELTEK Flatpack S |  |  |  |
| Fire Station 15 | 4919 S. Himes AveTampa, FL 33611 | Toshiba 1600 Series | 14KVA |  | ELTEK Flatpack S |  |  |  |

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Site Name | Address | UPS System | UPS Rating | UPS Model No.  | Battery Charger | Charger Model No. | Panel Model No.  | Batteries |
| Tampa VA | 13000 Bruce B. Downs Blvd.Tampa, FL 33612 | Toshiba 1600 Series | 14KVA |  | ELTEK Flatpack S |  |  |  |
| Taylor Road (old) |  | Toshiba 1600 Series | 18KVA |  |  |  |  |  |
| Falkenburg Road Jail | 520 N. Falkenburg RdTampa, FL 33619 |  |  |  |  |  |  |  |
| Pinebrooke |  |  |  |  |  |  |  |  |
| TIA – Tampa International Airport |  |  |  |  | ELTEK Flatpack S |  |  |  |
|  |  |  |  |  |  |  |  |  |