## HREC
Pull Station | 9 | Duct Detector | 4 | Waterflow | 1
Horn/Strobe | 24 | Heat Detector | 7 | Tamper | 1
Strobe | 12 | Smoke Detector | 41
Device | Location | Panel Displays | Unit # | Building | AD
Duct Detector - Supervisory | Int ME-24 Mech Room | ME 24 Mech Room Supply Duct | N/A | HREC | 15-3-45
Duct Detector - Supervisory | Int ME-24 Mech Room | ME 24 Mech Room Return Duct | N/A | HREC | 15-3-46
Duct Detector - Supervisory | Ext ME-34 Mech Room | ME-34 Mech Room Supply Duct -Reports | as alarm | HREC | 15-3-51
Duct Detector - Supervisory | Ext ME-34 Mech Room | ME-34 Mech Room Return Duct | N/A | HREC | 15-3-52
Heat Detector | Inside JC-23 | CRU/HREC JC-23 HEAT | N/A | HREC | 15-3-14
Heat Detector | Inside ME-26 | CRU/HREC ME-26 HEAT | N/A | HREC | 15-3-40
Heat Detector | Inside ME-24 | CRU/HREC ME-24 HEAT | N/A | HREC | 15-3-41
Heat Detector | Inside JC-17 (TL -16) | CRU/HREC CRU JC-17 HEAT | N/A | HREC | 15-3-42
Heat Detector | Inside EX-03 CRU | CRU/HREC CRU BREAKROOM HEAT | N/A | HREC | 15-3-43
Heat Detector | Inside JC- 01 CRU | CRU/HREC JC-01 HEAT | N/A | HREC | 15-3-44
Heat Detector | Inside ME-34 (Outside) | CRU/HREC ME-34 HEAT | N/A | HREC | 15-3-50
Pull Station | By Holding Cell W. Exit | CRU/HREC REAR LOBBY PULL | N/A | HREC | 15-3-126
Pull Station | By FE 40 Door South shower | CRU/HREC FE-40 EXIT PULL | N/A | HREC | 15-3-127
Pull Station | By FE 41 Door North shower | CRU/HREC FE-41 EXIT PULL | N/A | HREC | 15-3-128
Pull Station | By FE 42 Door (Cubical 11) | MALE DORM 11 EXIT PULL | N/A | HREC | 15-3-129
Pull Station | By East Front Entrance (EN-01) | CRU/HREC FRONT LOBBY PULL | N/A | HREC | 15-3-130
Pull Station | CRU Breakroom (EX-03) | CRU/HREC BREAKROOM EXIT PULL | N/A | HREC | 15-3-131
Pull Station | CRU Lobby (EX-01) | CRU/HREC PUBLIC ENTRY PULL | N/A | HREC | 15-3-132
Pull Station | CRU EXIT (EX-02) | CRU/HREC ENTRY AREA PULL | N/A | HREC | 15-3-138
Pull Station | By LD 33 Door | CONFERENCE RM MP-36 PULL | N/A | HREC | 15-3-139
Smoke Detector | Above FACP | CRU/HREC REAR LOBBY SMOKE | N/A | HREC | 15-3-01
Smoke Detector | Conference Room | CRU/HREC CONFERENCE RM MP 36 SMOKE | N/A | HREC | 15-3-02
Smoke Detector | Conference Room | CRU/HREC CONFERENCE RM MP 36 SMOKE | N/A | HREC | 15-3-03
Smoke Detector | Main Lobby West | CRU/HREC REAR LOBBY SMOKE | N/A | HREC | 15-3-04
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 03 SMOKE | N/A | HREC | 15-3-05
Smoke Detector | Male Dorm LD-44 Room | CRU/HREC LD-44 ROOM SMOKE | N/A | HREC | 15-3-06
Smoke Detector | Male Dorm outside dining | CRU/HREC OF-30 ROOM SMOKE | N/A | HREC | 15-3-07
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 06 SMOKE | N/A | HREC | 15-3-08
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 04 SMOKE | N/A | HREC | 15-3-09
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 10 SMOKE | N/A | HREC | 15-3-10
Smoke Detector | Male Dorm outside of strip search | CRU/HREC SS-20 SMOKE | N/A | HREC | 15-3-11
Smoke Detector | Corridor | CRU/HREC HALL AT TL-21 SMOKE | N/A | HREC | 15-3-12
Smoke Detector | Corridor | CRU/HREC HALL AT TL-16 SMOKE | N/A | HREC | 15-3-13
Smoke Detector | Visitation | CRU/HREC VISITATION ROOM SMOKE | N/A | HREC | 15-3-15
Smoke Detector | Female Dorm | CRU/HREC FEMALE DORM ENTRY SMOKE | N/A | HREC | 15-3-16
Smoke Detector | Female Dorm | CRU/HREC FEMALE DORM 3 SMOKE | N/A | HREC | 15-3-17
Smoke Detector | Female Dorm | CRU/HREC FEMALE DORM 2 SMOKE | N/A | HREC | 15-3-18
Smoke Detector | Female Dorm | CRU/HREC FEMALE DORM 1 SMOKE | N/A | HREC | 15-3-19
Smoke Detector | Visitation | CRU/HREC VISITATION ROOM SMOKE 2 | N/A | HREC | 15-3-20
Smoke Detector | TE-13 room | CRU/HREC COMM TE-13 ROOM SMOKE | N/A | HREC | 15-3-21
Smoke Detector | OF-12 Office | CRU/HREC OF-12 ROOM SMOKE | N/A | HREC | 15-3-22
Smoke Detector | Visitation | CRU/HREC VISITATION ROOM SMOKE 3 | N/A | HREC | 15-3-23
Smoke Detector | Property Room PR 25 | CRU/HREC PROPERTY ROOM SMOKE | N/A | HREC | 15-3-24
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 19 SMOKE | N/A | HREC | 15-3-25
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 17 SMOKE | N/A | HREC | 15-3-26
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 14 SMOKE | N/A | HREC | 15-3-27
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 13 SMOKE | N/A | HREC | 15-3-28
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 9 SMOKE | N/A | HREC | 15-3-29
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 11 SMOKE | N/A | HREC | 15-3-30
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 12 SMOKE | N/A | HREC | 15-3-31
Smoke Detector | Male Dorm | CRU/HREC HALL AT ME-26 SMOKE | N/A | HREC | 15-3-32
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 15 SMOKE | N/A | HREC | 15-3-33
Smoke Detector | SR-10 Storeroom | CRU/HREC SR-10 ROOM SMOKE | N/A | HREC | 15-3-34
Smoke Detector | Visitation | CRU/HREC VISITATION ROOM SMOKE | N/A | HREC | 15-3-35
Smoke Detector | Criminal Registration | CRU/HREC FINGERPRINT AREA SMOKE | N/A | HREC | 15-3-36
Smoke Detector | Criminal Registration | CRU/HREC FILE INTERVIEW AREASMOKE | N/A | HREC | 15-3-37
Smoke Detector | Criminal Registration | CRU/HREC CRUN ENTRY AREA SMOKE | N/A | HREC | 15-3-38
Smoke Detector | Criminal Registration | CRU/HREC RECEPTION AREA SMOKE | N/A | HREC | 15-3-39
Smoke Detector | Criminal Reg File Room | CRU/HREC FILE ROOM RS-01 SMOKE | N/A | HREC | 15-3-47
Smoke Detector | Male Dorm | CRU/HREC MALE DORM 07 SMOKE | N/A | HREC | 15-3-48
Smoke Detector | Male Dorm | CRU/HREC CENTER MALE DORM SMOKE | N/A | HREC | 15-3-54
Waterflow Switch | Fire Sprinkler Riser | WATERFLOW | N/A | HREC | ?
Mag Lock Release | CRU EX-02 Door | N/A | N/A | HREC | 15-3-133
Mag Lock Release | CRU WT-01 Door | N/A | N/A | HREC | 15-3-134
FACP breaker in ME-24 Rm
Ducts are "Supervisory Latching"
and will shut down the AHU’s
Equipment
Customer Assist