FRJ Post Indicator Valves

5-9-19

| Number | Turns to Open | Notes |
| --- | --- | --- |
| 1 | 20 | No longer test - Controls Building 13 |
| 2 | 25 | Controls Building 1 |
| 3 | 24 | Controls Building 4 |
| 4 | 24.5 | Controls Building 16 |
| 5 | 24 | Inside Dogrun – Controls Building 18 |
| 6 | 25 | Controls Building 17 |
| 7 | 25 | Controls Fire Hydrants on North Loop |
| 8 | 25 | Controls Building 12 |
| 9 | 25 | Controls Building 7 and 9 |
| 10 | 24 Very hard to turn | Controls Building 6 and the East side of Building 22 |
| 11 | 25 | Controls the West side of Building 22 |
| 12 | 25 | Controls Building 11 |
| 13 | 25 | Controls Building 10 |
| 14 | 24.5 | Controls Building 8 |

Buildings 2, 3, 5, 14 and 21 at FRJ do not have a PIV.

Will need an ABUS 580 key for the locks

(Post 2 Box – Key Set #1)