ORJ Fire Alarm Device Count

Edwards EST3X

(Installed 7-22-13 thru 10-23-13)

| DEVICE | TOTAL COUNT |
| --- | --- |
| Pullstations | 113 |
| Photo Detectors | 1,189 |
| Duct Detectors | 72 |
| Heat Detectors | 12 |
| Waterflow Switches | 71 |
| Horn/Strobes | 351 |
| Strobes | 401 |
| Enunciation Panels | 14 |

HREC Fire Alarm Device Count

| DEVICE | TOTAL COUNT |
| --- | --- |
| Pullstations | 10 |
| Photo Detectors | 39 |
| Duct Detectors | 5 |
| Heat Detectors | 5 |
| Waterflow Switches | 1 |
| Horn/Strobes | 24 |
| Strobes | 12 |
| Enunciation Panels | 1 |

Rev - 10-24-13