Hillsborough Re-Entry Center

Fire Sprinkler Testing Information

Updated 05/01/2012

Riser is located in OF-08

1 – 4 inch wet system

Inspector's Test Valve is located in FH-02

*Auxiliary drain located in male housing laundry area

Alarm reports to the OSC panel